## October 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-10-17 | [9 empty] | Too low to bucket sample.
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-10-17 | 12:55 | 14 | 57.2 | 7.31 | 145.2 | 2.87 | 71.7 | 0.063
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-10-17 | 12:30 | 12 | 53.6 | 7.21 | 65 | 3.04 | 17.3 | 0.027 | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-10-17 | 12:05 | 16.1 | 60.98 | 7.14 | 227.6 | 3.39 | 410.6 | 0.062 | 0.03
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-10-17 | [9 empty] | Irrigation off.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-10-17 | 11:45 | 15 | 59 | 7.85 | 247.3 | 4.3 | 224.7 | 0.073
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-10-17 | [9 empty] | Poor/unsafe access.
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-10-17 | 11:30 | 15.1 | 59.18 | 7.82 | 285.6 | 3.76 | 131.4 | 0.059
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-10-17 | [9 empty] | Irrigation off.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-10-17 | 11:05 | 14.8 | 58.64 | 8.06 | 318.3 | 7.16 | 218.7 | 0.068
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-10-17 | 10:45 | 15 | 59 | 8.06 | 329 | 13.7 | 579.4 | 0.076
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-10-17 | 10:15 | 14.6 | 58.28 | 7.94 | 329 | 8.83 | 142.1 | 0.098
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-10-17 | 13:55 | 16.7 | 62.06 | 8.25 | 347.7 | 7.26 | 204.6 | 0.079
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-10-17 | 14:20 | 17 | 62.6 | 8.24 | 361 | 8.56 | 214.3 | 0.093
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-10-17 | 9:20 | 14.6 | 58.28 | 7.79 | 254.3 | 19.6 | 816.4 | 0.091
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-10-17 | 9:30 | 14.3 | 57.74 | 7.83 | 310.6 | 8.79 | 1986.3
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-10-17 | [9 empty] | Stagnant.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-10-17 | 9:40 | 14.6 | 58.28 | 7.75 | 283.5 | 7.07 | 148.3 | 0.079
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-10-17 | 14:35 | 17.3 | 63.14 | 8.29 | 364.7 | 9.13 | 122.3 | 0.09
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-10-17 | [9 empty] | Poor/unsafe access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-10-17 | 15:10 | 17.2 | 62.96 | 7.29 | 340 | 10.5 | 2419.2 | 0.107
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-10-17 | 15:00 | 16.9 | 62.42 | 7.78 | 332.4 | 37.2 | 547.5 | 0.209
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-10-17 | 15:30 | 17.2 | 62.96 | 8.08 | 367.5 | 14 | 275.5 | 0.096
Bear Ck. @ Fern Valley Rd. | DUP 1 | PHO, CNTY | 2023-10-17 | 10:50 | 15 | 59 | 8.11 | 329 | 7.36 | 206.4 | 0.085
Bear Ck. @ B.H. Park (Phoenix) | DUP 2 | PHO, CNTY | 2023-10-17 | 11:10 | 14.8 | 58.64 | 8.09 | 318.3 | 5.67 | 275.5 | 0.066
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## November 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-11-21 | [9 empty] | Too low to bucket sample.
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-11-21 | 12:55 | 8.2 | 46.76 | 7.53 | 94.8 | 1.69 | 49.5 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-11-21 | 12:30 | 7.3 | 45.14 | 7.76 | 58 | 2.8 | <1.0 | - | ND
Ashland Creek below STP | E5 | ASH, CNTY | 2023-11-21 | 12:05 | 10.1 | 50.18 | 7.58 | 161 | 1.51 | 98.8 | - | ND
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-11-21 | [9 empty] | Irrigation off.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-11-21 | 11:45 | 8.6 | 47.48 | 8.28 | 183.1 | 2.18 | 62 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-11-21 | [9 empty] | Poor/unsafe access.
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-11-21 | 11:25 | 8.2 | 46.76 | 8.1 | 208.5 | 2.22 | 113.7 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-11-21 | [9 empty] | Irrigation off.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-11-21 | 11:00 | 7.6 | 45.68 | 8.33 | 235.3 | 4.44 | 120.1 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-11-21 | 10:40 | 7.7 | 45.86 | 8.33 | 242 | 3.43 | 139.6 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-11-21 | 10:25 | 7.3 | 45.14 | 8.23 | 246.7 | 3.09 | 127.4 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-11-21 | 13:55 | 8.6 | 47.48 | 8.44 | 277.1 | 6.01 | 228.2 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-11-21 | 14:30 | 9.1 | 48.38 | 8.34 | 283.3 | 6.08 | 118.7 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-11-21 | 9:35 | 8.5 | 47.3 | 8.1 | 250.7 | 34.5 | 218.7 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-11-21 | 9:45 | 6.9 | 44.42 | 8.16 | 262.3 | 3.74 | 88.6
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-11-21 | [9 empty] | Dry.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-11-21 | 9:55 | 7.4 | 45.32 | 8 | 242.2 | 4.37 | 56.3 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-11-21 | 14:50 | 8.9 | 48.02 | 7.95 | 260.7 | 4.99 | 128.1 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-11-21 | [9 empty] | Poor/unsafe access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-11-21 | 15:15 | 9.7 | 49.46 | 7.97 | 284 | 6.56 | 111.9 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-11-21 | 15:05 | 8.5 | 47.3 | 8.15 | 296.6 | 10.1 | 307.6 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-11-21 | 15:30 | 8.8 | 47.84 | 8.22 | 258.5 | 5.91 | 78 | -
Bear Ck. @ 9th St. in Medford | DUP 1 | MED, CNTY | 2023-11-21 | 14:00 | 8.6 | 47.48 | 8.31 | 276.1 | 5.74 | 191.8 | -
Bear Ck. @ Table Rock Rd. | DUP 2 | MED, CNTY | 2023-11-21 | 14:35 | 9.4 | 48.92 | 8.35 | 284.1 | 6.35 | 178.2 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.

## December 2023
Site Description | Site # | Jurisdictions Affected | Sample Date | Time of Day | Temp. (Celsius) | Temp. (Fahrenheit) | pH | Conductivity (uS/cm) | Turbidity (NTU) | E. coli (MPN) | Total Phosphorus (mg/L) | Ammonia-Nitrate (mg/L) | Notes
Walker Creek @ Belle Fiore | E1 | ASH, CNTY | 2023-12-21 | 12:45 | 6.4 | 43.52 | 7.78 | 229.7 | 2.11 | 20.1 | -
Neil Creek @ Dead Indian Memorial | E3 | ASH, CNTY | 2023-12-21 | 12:35 | 5.9 | 42.62 | 7.65 | 81.2 | 2.32 | 43.5 | -
Ashland Creek @ Granite St. | E4 | ASH, CNTY | 2023-12-21 | 12:10 | 5 | 41 | 7.83 | 53.2 | 1.32 | 11 | -
Ashland Creek below STP | E5 | ASH, CNTY | 2023-12-21 | 11:45 | 7.5 | 45.5 | 7.63 | 124.1 | 2.99 | 43.2 | -
TID Canal @ Eagle Mill Rd. | E6 | TID, ASH, CNTY | 2023-12-21 | [9 empty] | Irrigation off.
Bear Ck. @ S. Valley View Rd. | E7 | ASH, CNTY | 2023-12-21 | 11:35 | 6.5 | 43.7 | 8.19 | 164.5 | 3.93 | 95.9 | -
Bear Ck. @ Greenway (S. Talent) | E8 | TAL, CNTY | 2023-12-21 | [9 empty] | Poor/unsafe access.
Bear Ck. @ Lynn Newbry Park | E9 | TAL, CNTY | 2023-12-21 | 11:15 | 6.5 | 43.7 | 8.01 | 173.9 | 2.15 | 69.7 | -
MID Diversion @ Suncrest Rd. | E10 | MID, CNTY | 2023-12-21 | [9 empty] | Irrigation off.
Bear Ck. @ B.H. Park (Phoenix) | E11 | PHO, CNTY | 2023-12-21 | 10:55 | 6.8 | 44.24 | 8.19 | 189.2 | 3.13 | 1203.3 | -
Bear Ck. @ Fern Valley Rd. | E12 | PHO, CNTY | 2023-12-21 | 10:40 | 7 | 44.6 | 8.06 | 206.1 | 3.17 | 198.9 | -
Bear Ck. @ CTNC (S. Medford) | E13 | MED, CNTY | 2023-12-21 | 10:20 | 7.2 | 44.96 | 8 | 216.3 | 3.67 | 547.5 | -
Bear Ck. @ 9th St. in Medford | E14 | MED, CNTY | 2023-12-21 | 13:35 | 7.9 | 46.22 | 8.64 | 242 | 4.4 | 228.2 | -
Bear Ck. @ Table Rock Rd. | E15 | MED, CNTY | 2023-12-21 | 14:35 | 8.1 | 46.58 | 8.38 | 250.8 | 3.49 | 648.8 | -
Griffin Creek @ Beall Ln. | E16 | JVLLE, CPT, CNTY | 2023-12-21 | 9:30 | 10.8 | 51.44 | 8.04 | 284.6 | 15.6 | 344.8 | -
Jackson Creek @ Beall Ln. | E17 | JVLLE, CPT, CNTY | 2023-12-21 | 9:40 | 8.2 | 46.76 | 8 | 286.3 | 10.4 | 1986.3
Jackson Creek @ Jacksonville | E18 | JVLLE, CPT, CNTY | 2023-12-21 | [9 empty] | Dry.
Jackson Creek @ W. Ross Ln. | E19 | JVLLE, CPT, CNTY | 2023-12-21 | 9:45 | 8.8 | 47.84 | 7.84 | 252.1 | 5.24 | 218.7 | -
Bear Ck. @ Pine St. (CP) | E20 | CPT, CNTY | 2023-12-21 | 14:50 | 8.2 | 46.76 | 8.45 | 247.8 | 2.98 | 686.7 | -
Bear Ck. above Griffin (CP) | E21 | CPT, CNTY | 2023-12-21 | [9 empty] | Poor/unsafe access.
Griffin Creek @ I-5 | E22 | CPT, CNTY | 2023-12-21 | 15:20 | 9.5 | 49.1 | 8.16 | 295.7 | 6.37 | 141.4 | -
Jackson Creek @ Dean Creek Rd. | E23 | JVLLE, CPT, CNTY | 2023-12-21 | 15:05 | 8.3 | 46.94 | 8.21 | 297 | 8.63 | 228.2 | -
Bear Ck. @ Kirtland Rd. | E24 | CNTY, All | 2023-12-21 | 15:30 | 8.3 | 46.94 | 8.21 | 226.6 | 4.79 | 93.3 | -
Griffin Creek @ Beall Ln. | DUP 1 | JVLLE, CPT, CNTY | 2023-12-21 | 9:32 | 10.8 | 51.44 | 8.05 | 284.6 | 15 | 410.6 | -
Jackson Creek @ Beall Ln. | DUP 2 | JVLLE, CPT, CNTY | 2023-12-21 | 9:42 | 8.2 | 46.76 | 8.18 | 286.3 | 11.7 | 1413.6 | -
Bear Ck. @ Kirtland Rd. | QA/QC1 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
Rogue River, Hwy 234 in GH | QA/QC2 | CNTY, All | - | - | - | - | - | - | - | - | - | - | -
* The summer temperature standard of 18.0 C (64.4 F) is based on a seven day consecutive average high temperature for the months of May 16th to October 14th. The winter temperature standard is 13.0 C (55.4 F) for the months of October 15th to May 15th.
Therefore, grab sample results are generally not used to determine exceedence based on this standard.
** An absolute standard of 50 ntus has been previously used for comparison purposes. The 1999 OWEB Watershed Assessment Manual recommends 50 NTUs above the background. Turbidity at this | [11 empty] | LE =Lab Error
level interferes with the sight-feeding of salmonids and therefore provides a direct indicator of the biological effect (page VIII-15). ODEQ is currently working on revising the turbidity criteria. | [11 empty] | FE = Field Error
** Exceedence of the turbidity standard outlined in the Oregon Administrative Rules (OAR 340) is based on a greater than a 10 % increase in turbidity levels upstream and downstream of a source input or project. | [11 empty] | ND = not detectable
*** Numeric Criteria: (i.) A 30-day log mean of 126 E.coli organisms per 100 ml, based on a minimum of five (5) samples; (ii.) No single sample shall exceed 406 E. Coli organisms per 100 ml.
n/a indicates no current applicable standard.
^ Daily average discharge measurements from Bureau of Reclamation (http://www.usbr.gov/pn-bin/rtindex.pl?cfg=rogue)
Bold Red indicates values at upper limit of quantification for test method. (example: e.coli 2419.2 = >2419.2)
Red indicates values that exceed state standards.